## Notes
References: | Hernandez, V. et al. (2018) ‘A new method for modelling the tongue-and-groove in treatment planning systems’, Physics in Medicine & Biology, 63(24), p. 245005. Available at: https://doi.org/10.1088/1361-6560/aaf098.
LINAC:
DATE:
DETECTOR:
ELECTROMETER:
DICOM Files:
SETUP: | 10×10cm square field. Chamber @ -0.5cm depth point in Cheese. Chamber orientated perpendicular to the direction of MLC travel.

## 6FFF_measurements
0.) Open field chamber readings
No MLCs…
# | R [nC]
1
2
3
AVERAGE [nC]
STD ERR. [nC]
1.) MLC Leaf bank mean transmission measurements
Leafs closed behind jaws…
| Leaf Bank A | Leaf Bank B
# | R [nC] | R [nC]
1
2
3
AVERAGE [nC]
STD ERR. [nC]
2.) Synchronous sweeping gap measurements
Constant gap width, MLCs move at constant speed.
d [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3
3.) Asynchrnous sweeping gap measurements
Adjacent leaves have different positions, constant gap width 20mm, MLCs move at constant speed.
s [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3
4.) Asynchrnous sweeping gap measurements
Different gap widths, with different s values.
This is to show that the reduction in fluence at the chamber is independent of the leaf gap used.
d = 0.5cm
s [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3
d = 3.0cm
s [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3

## 10FFF_measurements
0.) Open field chamber readings
No MLCs…
# | R [nC]
1
2
3
AVERAGE [nC]
STD ERR. [nC]
1.) MLC Leaf bank mean transmission measurements
Leafs closed behind jaws…
| Leaf Bank A | Leaf Bank B
# | R [nC] | R [nC]
1
2
3
AVERAGE [nC]
STD ERR. [nC]
2.) Synchronous sweeping gap measurements
Constant gap width, MLCs move at constant speed.
d [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3
3.) Asynchrnous sweeping gap measurements
Adjacent leaves have different positions, constant gap width 20mm, MLCs move at constant speed.
s [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3

## 6cFF_measurements
0.) Open field chamber readings
No MLCs…
# | R [nC]
1
2
3
AVERAGE [nC]
STD ERR. [nC]
1.) MLC Leaf bank mean transmission measurements
Leafs closed behind jaws…
| Leaf Bank A | Leaf Bank B
# | R [nC] | R [nC]
1
2
3
AVERAGE [nC]
STD ERR. [nC]
2.) Synchronous sweeping gap measurements
Constant gap width, MLCs move at constant speed.
d [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3
3.) Asynchrnous sweeping gap measurements
Adjacent leaves have different positions, constant gap width 20mm, MLCs move at constant speed.
s [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3