## Notes
References: | Hernandez, V. et al. (2018) ‘A new method for modelling the tongue-and-groove in treatment planning systems’, Physics in Medicine & Biology, 63(24), p. 245005. Available at: https://doi.org/10.1088/1361-6560/aaf098.
LINAC:
DATE:
DETECTOR:
ELECTROMETER:
DICOM Files:
SETUP: | 10×10cm square field. Chamber @ -0.5cm depth point in Cheese. Chamber orientated perpendicular to the direction of MLC travel.

## 6FFF_measurements
0.) Open field chamber readings
No MLCs…
# | R [nC]
1
2
3
AVERAGE [nC]
STD ERR. [nC]
1.) MLC Leaf bank mean transmission measurements
Leafs closed behind jaws…
| Leaf Bank A | Leaf Bank B
# | R [nC] | R [nC]
1
2
3
AVERAGE [nC]
STD ERR. [nC]
2.) Synchronous sweeping gap measurements
Constant gap width, MLCs move at constant speed.
d [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3
3.) Asynchrnous sweeping gap measurements
Adjacent leaves have different positions, constant gap width 20mm, MLCs move at constant speed.
s [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3
4.) Asynchrnous sweeping gap measurements
Different gap widths, with different s values.
This is to show that the reduction in fluence at the chamber is independent of the leaf gap used.
d = 0.5cm
s [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3
d = 3.0cm
s [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3

## 10FFF_measurements
0.) Open field chamber readings
No MLCs…
# | R [nC]
1
2
3
AVERAGE [nC]
STD ERR. [nC]
1.) MLC Leaf bank mean transmission measurements
Leafs closed behind jaws…
| Leaf Bank A | Leaf Bank B
# | R [nC] | R [nC]
1
2
3
AVERAGE [nC]
STD ERR. [nC]
2.) Synchronous sweeping gap measurements
Constant gap width, MLCs move at constant speed.
d [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3
3.) Asynchrnous sweeping gap measurements
Adjacent leaves have different positions, constant gap width 20mm, MLCs move at constant speed.
s [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5
1
2
3

## 6cFF_measurements
0.) Open field chamber readings
No MLCs…
# | R [nC]
1 | 1.24
2 | 1.24
3 | 1.24
AVERAGE [nC] | 1.24
STD ERR. [nC] | 0
1.) MLC Leaf bank mean transmission measurements
Leafs closed behind jaws…
| Leaf Bank A | Leaf Bank B
# | R [nC] | R [nC]
1
2
3
AVERAGE [nC]
STD ERR. [nC]
2.) Synchronous sweeping gap measurements
Constant gap width, MLCs move at constant speed.
d [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC]
0.2
0.5 | 0.08
1 | 0.13 |  |  |  |  | Intercept | Gradient
2 | 0.23 | 0.23 |  |  |  | 0.1 | 0.03
3 | 0.33
[7 empty] | X | Y
3.) Asynchrnous sweeping gap measurements | [6 empty] | 0.1 | 0.04
Adjacent leaves have different positions, constant gap width 20mm, MLCs move at constant speed. | [6 empty] | 0.2 | 0.05
[7 empty] | 0.3 | 0.06
s [cm] | R1 | R2 | R3 | AVERAGE [nC] | STD ERR. [nC] |  | 0.4 | 0.07
0.2 | 0.23 | [5 empty] | 0.5 | 0.08
0.5 | 0.228 | [5 empty] | 0.6 | 0.09
1 | 0.225 | [5 empty] | 0.7 | 0.1
1.5 | 0.222 | [5 empty] | 0.8 | 0.11
2 | 0.219 | [5 empty] | 0.9 | 0.12
[7 empty] | 1 | 0.13
[7 empty] | 1.1 | 0.14
[7 empty] | 1.2 | 0.15
[7 empty] | 1.3 | 0.16
[7 empty] | 1.4 | 0.17
[7 empty] | 1.5 | 0.18
[7 empty] | 1.6 | 0.19
[7 empty] | 1.7 | 0.2
[7 empty] | 1.8 | 0.21
[7 empty] | 1.9 | 0.22
[7 empty] | 2 | 0.23
[7 empty] | 2.1 | 0.24
[7 empty] | 2.2 | 0.25
[7 empty] | 2.3 | 0.26
[7 empty] | 2.4 | 0.27
[7 empty] | 2.5 | 0.28
[7 empty] | 2.6 | 0.29
[7 empty] | 2.7 | 0.3
[7 empty] | 2.8 | 0.31
[7 empty] | 2.9 | 0.32
[7 empty] | 3 | 0.33
[7 empty] | 3.1 | 0.34
[7 empty] | 3.2 | 0.35
[7 empty] | 3.3 | 0.36
[7 empty] | 3.4 | 0.37
[7 empty] | 3.5 | 0.38
[7 empty] | 3.6 | 0.39
[7 empty] | 3.7 | 0.4
[7 empty] | 3.8 | 0.41
[7 empty] | 3.9 | 0.42
[7 empty] | 4 | 0.43